## Signals
Intesis MAPS Excel signals file
PROJECT_NAME | Project1
Intesis MAPS Version | 1.2.23.0
Internal Protocol | Modbus Slave
External Protocol | BACnet Client
Timestamp | 46029
# | Active | Description | Data Length | Format | Address | Bit | Read / Write | String Length | # | Device Name | Type | Instance | Conv. Id | Conversions
1 | True | Comm Error | 16 | 0: Unsigned | 0 | - | 0: Read | - | 1 | Device 0 | 3: BI | - |  | -
2 | True | Comm Error | 16 | 0: Unsigned | 1 | - | 0: Read | - | 2 | Device 1 | 3: BI | - |  | -
3 | True | Comm Error | 16 | 0: Unsigned | 2 | - | 0: Read | - | 3 | Device 2 | 3: BI | - |  | -
4 | True | Counter_Read | 16 | 0: Unsigned | 3 | - | 0: Read | - | 4 | Device 0 | 13: MI | 0 |  | -
5 | True | Counter_Write | 16 | 0: Unsigned | 4 | - | 1: Trigger | - | 5 | Device 0 | 14: MO | 1 |  | -
6 | True | Counter_ReadWrite | 16 | 0: Unsigned | 5 | - | 2: Read / Write | - | 6 | Device 0 | 19: MV | 2 |  | -
7 | True | BitField_0 | 16 | 4: BitFields | 6 | 0 | 2: Read / Write | - | 7 | Device 1 | 5: BV | 3 |  | -
8 | True | BitField_1 | 16 | 4: BitFields | 6 | 1 | 2: Read / Write | - | 8 | Device 1 | 5: BV | 4 |  | -
9 | True | BitField_2 | 16 | 4: BitFields | 6 | 2 | 2: Read / Write | - | 9 | Device 1 | 5: BV | 5 |  | -
10 | True | Temperature_Read | 32 | 3: Float | 7 | - | 0: Read | - | 10 | Device 2 | 0: AI | 6 |  | -
11 | True | Temperature_Write | 32 | 3: Float | 9 | - | 1: Trigger | - | 11 | Device 2 | 1: AO | 7 |  | -
12 | True | Temperature_ReadWrite | 32 | 3: Float | 11 | - | 2: Read / Write | - | 12 | Device 2 | 2: AV | 8 |  | -

## Conversions
Idx | Description | Type | Param 1 | Param 2 | Param 3 | Param 4
0 | Limit to 0-100 | FILTER | 2 | 4 | 0 | 100
1 | Limit to 0-255 | FILTER | 2 | 4 | 0 | 255
2 | Is not 0 | FILTER | 0 | 1 | 0 | 100
3 | Is higher than 100 | FILTER | 0 | 3 | 100 | 100
4 | Only positive values | FILTER | 2 | 3 | 0 | 100
0 | Celsius to Fahrenheit | ARITH | -1 | 18 | 32 | 0
1 | Fahrenheit to Celsius | ARITH | -3 | 555 | -17.78 | 0
2 | x10 | ARITH | 1 | 1 | 0 | 0
3 | /10 | ARITH | -1 | 1 | 0 | 0
4 | x100 | ARITH | 2 | 1 | 0 | 0
5 | /100 | ARITH | -2 | 1 | 0 | 0
6 | x1000 | ARITH | 3 | 1 | 0 | 0
7 | /1000 | ARITH | -3 | 1 | 0 | 0
8 | 0-100 to 0-255 | SCALE | 0 | 100 | 0 | 255
9 | 0-255 to 0-100 | SCALE | 0 | 255 | 0 | 100